Sr. No. in Scope NABL / NON NABL

**Flow chart of Acidity test for Wettable Powder (WP) & Dusting Powder (DP) formulation**

|  |  |
| --- | --- |
| **Date of Analysis** |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Sr. No.** | **Step** | **Execution** | | **Executed By** |
| 1. | Sample No. |  | |  |
| 2. | Name of Sample |  | |  |
| 3. | **Procedure** | | | |
| **3.1** | **Sample Titration** | |  |  |
| 3.1.1 | Weigh 10 g of sample in 250 ml beaker | | g |  |
| 3.1.2 | *Note the serial No. of balance log book* | |  |  |
| 3.1.3 | Add 25 ml of acetone and mix well. Warm the flask gently | |  |  |
| 3.1.4 | Add 75 ml of water and let it stand for an hour. Filter the  supernatant aqueous extract. | |  |  |
| 3.1.5. | Pipette out 50 mL of the filtrate (3.1.4.) into a 250 mL conical flask. | |  |  |
| 3.1.5 | Titrate with 0.05 N NaOH solution using methyl red or bromocresol purple indicator | |  |  |
| **3.2** | Note down the burette reading | | ml |  |
| 3.2.1 | **Blank titration** | |  |  |
| 3.2.2 | Prepare a solution of 25 ml acetone and 75 ml distilled water in a 250 ml conical flask | |  |  |
| 3.2.3 | Take an aliquot of 50 ml from the solution 3.2.2 | |  |  |
| 3.2.4 | Add indicator Bromocresol purple / Methyl Red | |  |  |
| 3.2.5 | Neutralise with 0.05 N NaOH (if blank sample is acidic)/ 0.05 N HCl (if blank sample is alkaline) | |  |  |
| 3.2.6 | Note down the burette reading | | mL |  |
| **3.3** | **Normality of Sodium hydroxide** | |  |  |
| 3.3.1 | Weigh 0.3- 0.4 g of Potassium hydrogen phthalate (KHP) in conical flask. | | g |  |
| 3.3.2 | *Note the serial No. of balance log book* | |  |  |
| 3.3.3 | Add 75 ml distilled water and 2-3 drops of phenolphthalein indicator and titrate with 0.05 N NaOH taken in burette. | |  |  |
| 3.3.4 | Note down the burette reading | | mL |  |
| **3.4** | **Normality of Hydrochloric acid** | |  |  |
| 3.4.1 | Weigh 0.1 g of Sodium carbonate (Na2CO3) in 250 ml conical flask | |  |  |
| 3.4.2 | *Note the serial No. of balance log book* | |  |  |
| 3.4.3 | Add 25-30 ml distilled water and 2-3 drops of methyl orange indicator and titrate wih 0.05 N HCl taken in burette. | |  |  |
| 3.4.4 | Note down the burette reading | | mL |  |

**4. Calculation:**

Wt. of KHP x 1000

1. **Normality of NaOH** = -----------------------------------

Burette Reading x 204.22

204.22 = Equivalent Weight of KHP

Wt. of Na2CO3 x 1000

1. **Normality of HCl** = -----------------------------------

Burette Reading x 53

53 = Equivalent Weight of Na2CO3

**In case blank is Acidic**

|  |  |
| --- | --- |
| **iii) Acidity (as H2SO4) % by mass** =  4.9 X 2 (V – B) x N1  ----------------------  M | Where,  V= Volume of NaOH consumed by the sample  B= Volume of NaOH consumed by blank.  N1= Normality of NaOH solution.  M = Mass in ‘g’ of the sample taken for |

**In case blank is Alkaline**

|  |  |
| --- | --- |
| **iv) Acidity (as H2SO4) % by mass** =  4.9 X 2 (VN1 + vN2)  --------------------------  M | **Where,**  V = Volume of NaOH required for the test sample  v = Volume of HCl required for blank titration  N1= Normality of standard NaOH solution  N2= Normality of standard HCl solution  M = Mass in ‘g’ of the sample taken for test |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Sr. No.** | **Name of test** | **Result** | **Unit** | **Method of Analysis** |
| 1. | Acidity |  | % | **IS – 6940 : 1982** |
| Remark / Reference : | | | | |

|  |  |  |
| --- | --- | --- |
| Analyzed by | Name |  |
| Dated signature |  |
| Checked by | Name |  |
| Dated signature |  |