**Flow Chart for Analysis of Temephos Content in Formulation Sample**

|  |  |  |
| --- | --- | --- |
| **Date of Analysis** |  | |
| **S. No.** | **Step** | **Execution** |  | **Executed by** |
| 1. | Sample No. | **R1** | **R2** |  |
| 2. | Name of Sample |  |  |  |
| 3. | **Procedure** |  |  |  |
| **3.1.** | **Preparation of Mobile Phase** |  |  |  |
| 3.1.1. | Mix n-Hexane and ethyl acetate in the proportion of 95:5 (v/v) |  |  |  |
| 3.1.2. | Pass through the 0.45 µm membrane filter under vaccum. |  |  |  |
| 3.1.3. | Homogenize the mixture using the magnetic stirrer. |  |  |  |
| 3.1.4 | Allow to attain room temperature. |  |  |  |
| **3.2** | **Preparation of standard solution** |  |  |  |
| 3.2.1 | Note the purity of the standard | % | % |  |
| 3.2.2 | Weigh 0.0333 g a. i. of Standard in a 50 ml volumetric flask | g | g |  |
| 3.2.3 | *Note the serial No. of the balance log book* |  |  |  |
| 3.2.4 | Dissolve and make up to the mark with mobile phase (3.1.4). |  |  |  |
| **3.3** | **Preparation of sample solution** |  |  |  |
| 3.3.1 | Note down the percent active ingredient declared on the sample | % | % |  |
| 3.3.2 | Weigh 0.0333 g a. i. of Sample in a 50 ml volumetric flask | g | g |  |
| 3.3.3 | *Note the serial No. of the balance log book* |  |  |  |
| 3.3.4 | Dissolve and make up to the mark with mobile phase (3.1.4). | ml | ml |  |
| 4. | **HPLC Parameters** |  |  |  |
| **4.1** | **Column** |  |  |  |
| 4.1.1 | Silica, Particle Size: 5µ |  |  |  |
| 4.1.2 | Length: 250 mm |  |  |  |
| 4.1.3 | I.D.: 4.6 mm |  |  |  |
| **4.2** | **Mobile Phase** |  |  |  |
| 4.2.1 | n-Hexane : ethyl acetate (95: 5, v/v) |  |  |  |
| 4.2.2 | Flow Rate : 1.0 ml/min |  |  |  |
| **4.3** | **Detector:** UV |  |  |  |
| **4.4** | **Wave Length**: 274 nm |  |  |  |
| **4.5** | **Injection Volume:** 20µl |  |  |  |
| 5. | **Result** |  |  |  |
| Sample chromatogram no. |  |  |  |
| Standard chromatogram no. |  |  |  |

|  |
| --- |
| **6. Calculation:**  A2 x M1  Temephos content, % by mass = ------------------- x P  A1 x M2  **Where,**  M1 =Mass in ‘g’ of Temephos standard  M2 =Mass in ‘g’ of sample taken for test  A1 = Peak area of Temephos in the standard solutionA2 = Peak area of Temephos in the sample solution  P = Percent purity of Temephos standard |
|  |
|  |

**Result:**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Sr. No.** | **Name of test** | **Result** | **Unit** | **Method of Analysis** |
| 1. | Active ingredient |  | % | IS- 8701 -1996 |
| Remark / Reference : | | | | |

|  |  |  |
| --- | --- | --- |
| Analyzed by | Name |  |
| Dated signature |  |
| Checked by | Name |  |
| Dated signature |  |