Sr. No. in Scope NABL / NON NABL

**Flow chart of Acidity/Alkalinity test by pH meter**

|  |  |
| --- | --- |
| **Date of Analysis**  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **Sr. No.** | **Step**  | **Execution** | **Executed By**  |
|  1. | Sample No. |  |  |
|  2. | Name of Sample |  |  |
|  3. | **Procedure** |
| **3.1** | **Sample Titration**  |  |  |
| 3.1.1 | Weigh 2.0 g of sample in 250 mL conical flask. |  g |  |
| 3.1.2 | *Note down the S.No. of balance log book* |  |  |
| 3.1.3 | Add 25 mL of methanol and stir for 5 minutes. |  |  |
| 3.1.4 | Filter through Buchner funnel into the filter flask. |  |  |
| 3.1.5 | Rinse the conical flask and Buchner funnel with methyl alcohol (3X5 mL) |  |  |
| 3.1.6 | Transfer the combined methanol extracts to a 250 mL beaker rinsing the filteration flask with 10 mL methanol. |  |  |
| 3.1.7 | Add 10 mL of distilled water. |   |  |
| 3.1.8 | Calibrate the pH meter with buffer solutions (4.0, 7.0 and 9.2 pH) and place the pH meter in the sample solution. |  |  |
| 3.1.9 | Note down the pH of the sample. |  |  |
| 3.1.10 | Titrate with 0.05 N NaOH or 0.05 N HCl to pH 5.0 at 27 °C and note the burette reading |  mL |  |
| **3.2** |  **Blank titration**  |  |  |
| 3.2.1 | Take 50 mL of methanol and 10mL of distilled water in 250 mL beaker |  |  |
| 3.2.2 | Note down the pH of blank |  |  |
| 3.2.3 | Neutralise with 0.05 N NaOH (if blank is acidic)/ 0.05 N HCl (if blank is alkaline) to pH 5.0 at 27 °C . |  |  |
| 3.2.4 | Note the burette reading |  mL |  |
| **3.3** | **Normality of Sodium hydroxide**  |  |  |
| 3.3.1 | Weigh 0.3- 0.4 g of GR grade Potassium hydrogen phthalate (KHP) in conical flask. |  g |  |
| 3.3.2 | Add 75 mL distilled water and 2-3 drops of phenolphthalein indicator and titrate with 0.05 N NaOH solution taken in burette. |  |  |
| 3.3.3 | Note the burette reading |  mL |  |
| **3.4** | **Normality of Hydrochloric acid** |  |  |
| 3.4.1 | Weigh 0.1 g of GR grade Sodium carbonate (Na2CO3) in 250 mL conical flask |  |  |
| 3.4.2 | Add 25-30 mL distilled water and 2-3 drops of methyl orange indicator and titrate with 0.05 N HCl solution taken in burette. |   |  |
| 3.4.3 | Note the burette reading |  mL |  |

**4. Calculation:**

 Wt. of KHP x 1000

1. **Normality of NaOH** = -----------------------------------

 Burette Reading x 204.22

 204.22 = Equivalent Weight of KHP

 Wt. of Na2CO3 x 1000

1. **Normality of HCl** = -----------------------------------

 Burette Reading X 53

53 = Equivalent Weight of Na2CO3

|  |  |
| --- | --- |
|  ***IF SAMPLE IS ACIDIC*****In case blank is Acidic** (**iii) Acidity (as H2SO4) % by mass** =  4.9 (V – B) x N1 ----------------------  M**In case blank is alkaline****Acidity (as H2SO4) % by mass** =  4.9 (VN1 + vN2)  -------------------------- M  | Where,V= Volume of NaOH consumed by the sampleB= Volume of NaOH consumed by blank.N1= Normality of NaOH solution.M = Mass in ‘g’ of the sample taken for testV = Volume of NaOH required for the test samplev = Volume of HCl required for blank titrationN1= Normality of standard NaOH solution  N2= Normality of standard HCl solutionM = Mass in ‘g’ of the sample taken for test |

|  |  |
| --- | --- |
| ***IF SAMPLE IS ALKALINE*****In case blank is Alkaline** **(iv) Alkalinity (as NaOH) % by mass** =   4.0 (V – B) x N1 ----------------------  M**In case blank is acidic****Alkalinity (as NaOH) % by mass** =  4.0 (VN1 + vN2)  ----------------------  M | **Where,**Where,V= Volume of HCl consumed by the sampleB= Volume of HCl consumed by blank.N1= Normality of HCl solution.M = Mass in ‘g’ of the sample taken for testV = Volume of HCl required for the test samplev = Volume of NaOH required for blank titrationN1= Normality of standard HCl solution N2= Normality of standard NaOH solutionM = Mass in ‘g’ of the sample taken for test |
|  **Sr. No.** | **Name of test** | **Result** | **Unit** | **Method of Analysis**  |
| 1. | **Active ingredient** |  | **%** | **CIBRC approved method** |
| 2. | Acidity (or) |  | % |  **IS – 6940 : 1982**  |
|  | Alkalinity |  | % |  **IS – 6940 : 1982**  |
| Remark / Reference : |
| Analyzed by | Name  |  |
| Dated signature |  |
| Checked by | Name  |  |
| Dated signature |  |