|  | National Institute of Plant Health Management Department of Agriculture & Cooperation Ministry of Agriculture, Government of India |  |
| --- | --- | --- |
| Telephone: 9140-24015374 E-mail: niphm@nic .in Tele-Fax: 9140-24015346 | Rajendra Nagar, Hyderabad – 500 030 http://niphm.gov.in |

F. No. NIPHM/ICT/13/UPS-Trg-Faculty-Bldg/2013/	                             		        Dated: 14/09/2013

To

(As per list *)

# *(The tender document is also being uploaded on the NIPHM website http://niphm.gov.in and the other prospective bidders can make use of the document down loaded from the website)

Sub: - Limited Tender for Procurement of Laptop computers and UPS Systems – reg.

* * *

Sir/Madam,

National Institute of Plant Health Management (NIPHM) invites ‘Sealed Bids’ from the reputed manufacturers/authorized distributors/dealers for procurement of “Laptop computers and UPS Systems” Detailed terms and conditions and list of items required may be downloaded from the NIPHM website http://niphm.gov.in

The schedule of receipt and opening of quotations is as under:-

Last date and time for receipt of bids  :		14:00 hrs on

30/09/2013.

Date & Time for opening of bids		::	15:00 hrs on

30/09/2013.

Data Base Administrator

for Registrar

TERMS AND CONDITIONS:

- GENERAL INSTRUCTIONS TO THE BIDDERS:

- Any offer made in responses to this tender when accepted by NIPHM will constitute a contract between the parties.

- Tenderer is exempted from Earnest Money Deposit.

- The Contract shall be interpreted under Indian laws and all disputes will be resolved within Hyderabad Jurisdiction. In case of any dispute, the decision of NIPHM, Hyderabad shall be final and binding.

- The supplier will be fully responsible for any loss in transit and will also be responsible for safe delivery of the goods/stores in good conditions at NIPHM.

- The quantity may increase or decrease as per requirement of the NIPHM ordinarily.

- Quotation should be valid for a minimum period of SIXTY DAYS from the date of opening of tender.  The sealed quotation with superscribing on the envelop “Quotation for supply of Laptop Computers and UPS Systems with tender no. and due date” should reach on or before the specified date and time to the Registrar NIPHM, Rajendranagar, Hyderabad-500 030.

- The NIPHM takes no responsibility for delay, loss or non-receipt of quotations/documents sent by post and reserves the right to accept or reject any part/full of the quotation without assigning any reasons whatsoever.

- Tenders received after due date and time shall be rejected.

- The rates quoted should be inclusive of all charges such as Octroi, packing, forwarding, insurance and loading, unloading, freight and clearance etc. and bidder should undertake to supply goods at NIPHM at his cost.

- The VAT/Sales/General taxes where legally leviable and intended to be claimed should be distinctly shown along with the price quoted.  Where this is not done it will be treated that the price is inclusive of VAT & other taxes. VAT/CST registration No. and date of its validity should be indicated. This Institute will not provide “C” & “D” forms, hence may quote include the taxes actually leviable. The firm must quote their TIN No. , PAN No., (IT returns) VAT registration no. etc. in the quotation (attested copies to be enclosed).

- The rates should be mentioned clearly in both figures and words for each item in the quotation.  If there is any variation in figures and rates quoted in words will be taken in to consideration. The overwriting, cutting, erasing, if any should clearly be duly attested.

- Corrupt or Fraudulent Practices: Bidders should observe the highest standard of ethics during the procurement and execution of such contracts.  “Corrupt practice” means the offering, giving, receiving or soliciting of anything of value to influence the action of public official in the procurement process or in contract execution, and “Fraudulent practice” means a misrepresentation of facts in order to influence a procurement process or the execution of a contract to the detriment of the Purchaser and includes collusive practice among Bidders (prior to or after bid submission) designed to establish bid prices at artificial by non-competitive levels and to deprive the Purchaser the benefits of free and open competition.

NIPHM will reject a proposal if it is found that the Bidder recommended for award has engaged in corrupt or fraudulent practice(s) while competing for the contract in question.

- CONDITIONS OF CONTRACT

- Sealed Quotations will be accepted from authorized dealers/ distributors/manufacturers for supply of Laptops/UPS Systems/Network Printers in accordance with our specifications.

- In case of dealer/distributor should enclose the authorization letter from the manufacturer.

- In respect of manufacturers Gross Annual Turnover of Rs. 25.00 lakhs. In respect of authorized dealer, the turnover of the manufacturer will be taken into account. In respect of other bidder’s the annual gross turn over should be at least Rs. 20.00 lakhs during last  financial year, for which they have to enclose copy of the annual accounts duly signed and attested by a Chartered Accountant. Proof to be submitted.

- The manufacturer, dealer/ distributer  should have at least 3 years of experience in dealing/supplying of Laptops computers/UPS Systems  for which they have to enclose copies of purchase orders (Government PSU’s/SAU/ Private Firms).  Experience of manufacturer will be taken into account in respect of authorized dealer and distributor.

- TECHNICAL SPECIFICATIONS:

| S. No | Technical Specification | Qty |
| --- | --- | --- |
| 1 | LAPTOP COMPUTERS: Laptop with Intel® Core™ i3 3rd Generation; Mobile Intel® HM76 Express Original Chipset; 4GB DDR3 RAM; Internal Storage 500 GB HDD; Display: 14” / 15” Anti-Glare Display; DVD+/–RW SuperMulti DL Removable Drive; Integrated built-in Graphics; Web Cam; Integrated 10/100/1000 Network Card; Inputs like Full—sized, spill—resistant keyboard, touchpad with scroll zone and gestures support, power button, 2 launch buttons (Wireless on/off and speaker mute), Function Keys , full separate numeric keypad; Ports and Connectors : USB 3.0 ports, USB 2.0 ports, 1 HDMI 1.4a, 1 VGA, 1 stereo microphone i/p, 1 headphone/line out; Expansion Slots : Multi Media Reader Slot supporting SD, SDHC, SDXC, Memory Stick, MSXC; Built in Speakers; HD Audio 2.0; Wireless 1503 802.11b/g/n; 9-Cell (47 WHr or higher) Battery; WiFi; Bluetooth; Original Driver Media(CD/DVDs); Power Adaptor; External Optical Mouse with pad; Windows 7 Starter, 64bit-English; Original Laptop Carry case Three Years onsite Comprehensive Warranty; | 16No. |
| 2 | LAPTOP COMPUTER: Laptop with 2.2 GHz Intel Core i7-3632QM 3rd generation Processor and 6MB L3 cache; Intel HM 77 Original Chipset; 8 GB 1600 MHz DDR3 RAM, AMD Radeon HD 7670M (2 GB DDR3 dedicated) Graphics; 14 / 15.6" diagonal HD Display with BrightView LED-backlit(1366 x 768); 1 TB 5400 rpm SATA HDD; Multimedia SuperMulti DVD Burner; Integrated 10/100/1000 Gigabit Ethernet LAN (RJ-45); Wireless Bluetooth 802.11b/g/n; 2 x Beats Audio Internal speakers; Keyboard with Full-size island-style keyboard with integrated numeric keypad; TouchPad supporting multi-touch gestures and on/off button; Multi-format digital media card reader; External Ports:: 3 SuperSpeed USB 3.0, 1 HDMI, 1 VGA, 1 Headphone-out/microphone-in combo jack; 90W AC power adapter, 6-cell Li-Ion; Original Driver Media(CD/DVDs); Power Adaptor; Original External Optical Mouse with pad; Windows 8, 64bit-English with License and Media; Original Leather Bag Carry Case. Three Years onsite Comprehensive Warranty; | 01 No. |
| 3 | 5 KVA UPS SYSTEMS: Capacity: 5 KVA / 3500 Watts , Single Phase In - One Phase Out AC Input Nominal : 230 VAC, + 15%, - 20%, 50 Hz + 6%, 3 Ø; Power Factor : 0.7 to 0.8 with o/p isolation transformer; Output/ Inverter :: Voltage : 230 VAC 1 Ø + 5%; Frequency : 50 Hz + 0.5 Hz/ 60 Hz; Over Load : 150% for 30 seconds, 120 % for 5 minutes; Power factor : 0.7 lagging to unity; Crest Factor : 3:1; Transient Recovery : < 20 ms; Protection : Over Load, Short Circuit, Battery Low; Wave Form : PWM Pure Sine Wave. Distortion < 3 to 5% Controls and Indicators :: Controls : UPS Start, UPS Stop, Reset, Load on Bypass; Site Wiring Fault Indicator and Control : Yes; Special feature : Intelligent Double Conversion Design; Advanced IGBT Technology; Self-diagnostics and historical log data for monitoring the functions of the UPS including the batteries; High Compatibility with Generator : Yes; Indicators : Mains On, Mains Fail, Inverter On, DC Low, DC OV, Output UV, Output OV, Over Load etc; Meters : Micro Controller and LCD based multi function meter for UPS Operating Status; Alarms : Mains Fail, Battery Low, Battery High, Output High, Output Low and Over Load. Batteries & Runtime:: Battery Type : Maintenance free Sealed external batteries from a reputed manufacturer; Back up on full load: Minimum 30 minutes; Battery Stand for external batteries. Supplier should give 3 years Onsite Comprehensive warranty on entire UPS System and Two years on batteries. The Supplier should have an after sales service centre in Andhra Pradesh | 3 Nos |

- The Tenderer should submit along with their quotation, details of similar supply made to Training/Scientific/Technical Institutions of Govt./PSU/SAU/Pvt. Firms in India and the reference to that effect may be clearly mentioned and copies enclosed.  Catalogue /literature of the computers quoted should be provided along with the quotation.

- Onsite Comprehensive Warranty should be provided for three years for all the above quoted items and 2 years for batteries. The firm should provide details of after sales service.  The firm has to submit its willingness to this effect.

- Contract / Agreement

- The Successful firm(s) shall require to deposit 5% of the order value as Performance Security either by means of demand draft or irrevocable Bank Guarantee obtained from any nationalized/commercial banks in favour of National Institute of Plant Health Management (NIPHM), the Hyderabad which should be valid beyond 60 days beyond the date of completion of all contractual obligations of the supplier including warranty obligation. The security deposit will be released/discharged after 60 days of completion of all contractual obligations of the supplier including warranty obligation without interest.

- The Performance Security shall be forfeited if the contractor declared successful fails to supply the stores as per specification mentioned in the purchase order or does not accept the assigned work for any reason, whatsoever.

- If the firm fails to deliver the goods within the stipulated delivery period as mentioned in the purchase order penalty of 2% per day of value of order shall be imposed/levied as liquidated damages

- Payment will be made within 15 days after receipt of material, installation and its final acceptance.

- PRICE SCHEDULE

- Name of the item:  Procurement of Laptop Computers, UPS Systems.

| Sl. No. | Item Description | Make/ model | Unit | Quantity | Price (Rs.) | Sales Tax/VAT | TOTAL Amount (Rs.) |
| --- | --- | --- | --- | --- | --- | --- | --- |

NOTE: 	1) 	Items should be delivered and installed at NIPHM

2)	Sales tax/VAT should be indicated clearly.

3)	Prices should be quoted only in Indian Rupees.

We are herewith undertaking that the details provided above are true and to abide by the terms and conditions contained in the bid document of NIPHM.

Signature of authorized official

( with seal and stamp)

Name		:

Designation	: