|  | National Institute of Plant Health Management Department of Agriculture & Cooperation Ministry of Agriculture, Government of India |  |
| --- | --- | --- |
| Telephone: 9140-24015374 E-mail: niphm@nic .in Tele-Fax: 9140-24015346 | Rajendra Nagar, Hyderabad – 500 030 http://niphm.gov.in |

F. No. NIPHM/ICT/13/NW /13-14				                                            Dated: 13/05/2013

To

(As per list *)

# *(The tender document is also being uploaded on the NIPHM website http://niphm.gov.in and the other prospective bidders can make use of the document down loaded from the website)

Sub:- Limited Tender for Procurement for Network items for New Faculty Building cum              Training Block  – reg.

* * *

Sir/Madam,

National Institute of Plant Health Management (NIPHM) invites ‘Sealed Bids’ from the reputed manufacturers/authorized distributors/dealers for procurement of “Network  items for New Faculty Building cum Training Block ” Detailed terms and conditions and list of items required may be downloaded from the NIPHM website http://niphm.gov.in

The schedule of receipt and opening of quotations is as under:-

Last date and time for receipt of bids 	::	14:00 hrs on

28/05/2013.

Date & Time for opening of bids		::	15:00 hrs on

28/05/2013.

Sd/-					                      Administrative Officer

for Registrar

TERMS AND CONDITIONS:

- GENERAL INSTRUCTION TO BIDDING:

- Any offer made in responses to this tender when accepted by NIPHM will constitute a contract between the parties.

- Tenderer is exempted from  Earnest Money Deposit

- The Contract shall be interpreted under Indian laws and all disputes will be resolved within Hyderabad Jurisdictions. In case of any dispute, the decision of NIPHM, Hyderabad shall be final and binding.

- The supplier will be fully responsible for any loss in transit and will also be responsible for safe delivery of the goods/stores in good conditions at NIPHM.

- Quotation should be valid for a minimum period of SIXTY DAYS from opening of tender.  The sealed quotation duly super scribing on the envelop “Quotation for supply of  Network items for “New Faculty Building cum Training Block”    with tender no……..and due date………” should reach on or before the specified date and time to the Registrar NIPHM, Rajendranagar, Hyderabad-500 030. Tenders received after due date and time shall be rejected.

- The NIPHM takes no responsibility for delay, loss or non-receipt of quotations/documents sent by post and reserves the right to accept or reject any part/full of the quotation without assigning any reasons whatsoever.

- The price may be quoted either in Indian Rupees or foreign currency. NIPHM will be providing duty exemption certificate towards foreign currency. If the rates quoted are in Indian Rupees, the same should be inclusive of all charges such as Octroi, packing, forwarding, insurance and loading, unloading, freight and clearance etc. and bidder should undertake to supply goods at NIPHM at his cost.

- The VAT/Sales/General taxes where legally leviable and intended to be claimed should be distinctly shown along with the price quoted.  Where this is not done it will be treated that the price is inclusive of VAT & other taxes. VAT/CST registration No. and date of its validity should be indicated. This Institute will not provide “C” & “D” forms, hence quote for the taxes actually leviable. The firm must quote their TIN No. , PAN No., (IT returns) VAT registration no. etc. in the quotation (attested copies to be enclosed).

- The rates should be mentioned clearly in both figures and words for each item in the quotation.  If there is any variation in figures and words rates quoted in words         will be taken in to consideration. The overwriting, cutting, erasing, if any should clearly be indicated duly attested.

- The categories of items and quantity indicated in the Tender Document are tentative. NIPHM reserves the right to increase or decrease the quantity or delete some or all of the items depending on the needs without assigning any reason at the time of award of purchase order.

- The bids should indicate clearly that the rates are with the delivery charges to the specific place of delivery as indicated by NIPHM. The rates would also include the installation charges.

- The Bidders should clearly indicate the availability of service and maintenance facilities for the items quoted at the place of installation during warranty period.

- No advance payment or payment against Proforma invoice will be made. Payment will be made after receipt, inspection, installation and successful testing of the all the equipments supplied.

- Packing list giving description of the contents must be put on all packages.

- The delivery, installation and successful testing of the items must be completed within 30 (thirty) days from the date of award of contract to the successful bidder.

- Corrupt or Fraudulent Practices: Bidders should observe the highest standard of ethics during the procurement and execution of such contracts.  “Corrupt practice” means the offering, giving, receiving or soliciting of anything of value to influence the action of public official in the procurement process or in contract execution, and “Fraudulent practice” means a misrepresentation of facts in order to influence a procurement process or the execution of a contract to the detriment of the Purchaser and includes collusive practice among Bidders (prior to or after bid submission) designed to establish bid prices at artificial non-competitive levels and to deprive the Purchaser of the benefits of free and open competition.

NIPHM will reject a proposal for award if it is found that the Bidder recommended for award has engaged in corrupt or fraudulent practices in competing for the contract in question.

- CONDITIONS OF CONTRACT

- Sealed Quotations will be accepted from authorized dealers/ distributors/manufacturers for supply of Network items  in accordance with our specifications.

- In case of dealer/distributor should enclose the authorization letter from the manufacturer.  Experience of manufacturer will be taken into account in respect of authorized dealer and distributor.

- In respect of manufacturers Gross Annual Turnover of Rs. 25.00 lakhs. In respect of authorized dealer, the turnover of the manufacturer will be taken into account. In respect of other bidder’s the annual gross turn over should be at least Rs. 20.00 lakhs during last  financial year, for which they have to enclose copy of the annual accounts duly signed and attested by a Chartered Accountant. Proof to be submitted.

- The manufacturer, dealer/ distributer  should have at least 3 years of experience in supply and installation of  of Network, switches, Wifi devices and network cabling  for which they have to enclose copies of purchase orders (Government PSU’s/SAU/ Private Firms).

- TECHNICAL SPECIFICATIONS:

| Sl.No | Technical Specifications for Active components | Compliance | Qty |
| --- | --- | --- | --- |
| 1 | L3 Core Switch with 24 Port 10/100/1000 : Switch should be 19" Rack mountable and should be supplied with rack mount kit; Switch shall have 24 X 10/100/1000 GE Port; Should support both 1G/10G uplink, and should be populated with 1G uplink populated with at least 2 no's of Multimode fibre module; Shall support of multicast routing, IPv6 routing, and access control list in hardware; Out-of-band Ethernet management port along with RS-232 console port; Switch shall support Media access control security (MACsec) hardware based encryption; Minimum of 160 Gbps Non-blocking Forwarding bandwidth and forwarding rate of 65 Mpps; Switch shall have Redundant Power supply; Support for at least 10K MAC addresses & 10K unicast routes; Should support at least 1.5K security ACEs; Support for Automatic Quality of Service for easy configuration of QoS features for critical applications; Security feature support - IEEE 802.1x, DHCP snooping, DHCP Option 82, Dynamic ARP Inspection (DAI); Port-based ACLs (PACLs) for Layer 2 interfaces to allow application of security policies on individual switch ports; Switch should support IEEE 802.1AE MACsec for layer 2; Ethernet data confidentiality and integrity on host facing ports; Switch should support OSPF, BGP, IS-IS advance routing protocols in future; Switch should have support with static route and RIPv1 RIPv2, RIPng routing protocols; Switch Should suport Port Aggregation protocol (PAgP); Should support VRRP, Multicast routing protocol and VRF-lite protocols; Switch should support Virtual trunking protocol(VTP) 3 Years onsite Comprehensive Warranty | Yes/No | 1 No |
| 2 | Ethernet layer2 Switch with 24 port 10/100/1000 : 24 port 10/100/1000 Gigabit Ethernet port and 4 nos 1G SFP ports for Uplink and should be populated with at least 1 number of 1G copper SFP Module; Should support at least 176Gbps Switching bandwidth and 88Gbps Forwarding bandwidth; Switch should support packet forwarding rate at least 41 mpps; 64MB Flash memory & 128 MB DRAM Memory; Should support optional dedicated Flexstacking module for easy of operation and simple configuration; Should support 384 IPv4 MAC security ACEs. General Specification support Support 255 Vlans; Should support N+1 Redundancy ( master + member switches ) using dedicated stack Port; Flexstacking should allow minimum 4 switches in a single stack with 20Gbps module throughput; Dynamic Host Configuration Protocol (DHCP) auto configuration of multiple switches through a boot server; Should support separate VLAN for data & voice; Should support advance security features like Private VLANs, Multidomain authentication, MAC Address notification, STRG and IGMP filtering; Should support switch-port autorecovery features for automatically reactivate the disabled link; should support Up to 64 aggregate or individual polices on Gigabit ethernet port; Should support STP, PVST & PVRST+(Rapid Per-VLAN spanning tree Plus) High-availability features; Should support 802.1Q VLAN standard; Should support Dynamic trunking protocol for facilitates dynamic trunking configuration across all switch ports; Any change in the VLAN configuration shall be propagated to all switches automatically using the central switch ; VLAN configuration; Should support Port Aggregation Protocol (PAgP) to automates the creation of EtherChannel groups to link to another switch, router, or server; Should provide IP SLA feature to analyze IP service levels for IP applications and services by using active traffic monitoring (the generation of traffic in a continuous, reliable, and predictable manner) for measuring network performance; VLAN Trunking Protocol (VTP) pruning to limit bandwidth consumption on VTP trunks by flooding broadcast traffic only on trunk links required to reach the destination devices. 3 Years onsite Comprehensive Warranty | Yes/No | 5 Nos |

| Sl.No | Technical Specifications for Active components | Compliance | Qty |
| --- | --- | --- | --- |
| 3 | Ethernet layer2 Switch with 48 port 10/100/1000 : Connectivity & performance 48 port 10/100/1000 Gigabit Ethernet port and 4 nos 1G SFP ports for Uplink and should be populated with at least 1 number of 1G copper SFP Module; Should support at least 176Gbps Switching bandwidth and 88Gbps Forwarding bandwidth Switch should support packet forwarding rate at least 77 mpps; 64MB Flash memory & 128 MB DRAM Memory; Should support optional dedicated Flexstacking module for easy of operation and simple configuration; Should support 384 IPv4 MAC security ACEs General Specification support Support 255 Vlans; Should support N+1 Redundancy ( master + member switches ) using dedicated stack Port; Flexstacking should allow minimum 4 switches in a single stack with 20Gbps module throughput; Dynamic Host Configuration Protocol (DHCP) autoconfiguration of multiple switches through a boot server; Should support separate VLAN for data & voice; Should support advance security features like Private VLANs, Multidomain authentication, MAC Address notification, STRG and IGMP filtering; Should support switch-port autorecovery features for automatically reactivate the disabled link and should support Up to 64 aggregate or individual policers on Gigabit ethernet port; Should support STP, PVST & PVRST+(Rapid Per-VLAN spanning tree Plus) High-availability features; Should support 802.1Q VLAN standard; Should support Dynamic trunking protocol for facilitates dynamic trunking configuration across all switch ports; Any change in the VLAN configuration shall be propagated to all switches automatically using the central switch VLAN configuration; Should support Port Aggregation Protocol (PAgP) to automates the creation of EtherChannel groups to link to another switch, router, or server; Should provide IP SLA feature to analyze IP service levels for IP applications and services by using active traffic monitoring (the generation of traffic in a continuous, reliable, and predictable manner) for measuring network performance; VLAN Trunking Protocol (VTP) pruning to limit bandwidth consumption on VTP trunks by flooding broadcast traffic only on trunk links required to reach the destination devices. 3 Years onsite Comprehensive Warranty | Yes/No | 3 Nos |
| 4. | Access Point Technical Specification : Detailed Specifications of Access Points with Internal Antennas : Access Point should support 802.11n standard with 3x4 multiple-input multiple-output (MIMO) technology and three spatial streams; Should provides proactive, high-speed spectrum intelligence to combat performance problems due to wireless interference for a self-healing network; AP Should have 256MB DRAM and 32MB flash, Access point mounting Bracket Kit, Should have the following features: 802.11n and 802.11a/g beam forming capability ; Maximal ratio combining (MRC); 802.11n and 802.11a/g beamforming; 20- and 40-MHz channels; PHY data rates up to 450 Mbps (40-MHz with 5 GHz); Packet aggregation: Aggregated MAC Protocol Data Unit (A-MPDU) (Tx/Rx), Aggregated MAC Protocol Service Unit (A-MSDU) (Tx/Rx); 802.11 dynamic frequency selection (DFS); Cyclic shift diversity (CSD) support; Status LED indicates boot loader status, association status, operating status, boot loader warnings, boot loader errors; Should have Client count/ClientLink client count as 200/128 Per Radio; Should have 4 dBi Internal Omni Antenna 360 degree horizontal beamwidth Antenna Should have followings: VideoStream; BandSelect; Rogue access point detection; Adaptive wireless intrusion protection system (wIPS) Should support following Powering Options: 802.3af Ethernet Switch; Power Injectors ; Local Power Supply; Should be supplied with power Injector for powering on the AP Multimedia: Should support Wireless Multimedia(WMM) Security Compliance:802.11i, Wi-Fi Protected Access 2 (WPA2), WPA; 802.1X; Advanced Encryption Standards (AES), Temporal Key Integrity Protocol (TKIP) IEEE Standard: IEEE 802.11a/b/g, IEEE 802.11n, IEEE 802.11h, IEEE 802.11d 3 Years onsite Comprehensive Warranty | Yes/No | 8 Nos |

| Sl.No | Technical Specification for Passive components | Compliance | Qty |
| --- | --- | --- | --- |
| 1 | 42U/600W/1000D rack with front glass door and lock rear MS door sidepanels and on castor wheels with Equipment mounting tray-4nos, Keyboard tray-4nos, 1U PVC Horizontal cable managers-2nos, 6/16A Vertical power manager (20sockets total), Four fan tray with four fans-2nos (on top and bottom), mounting fasteners (pack of 20) | Yes/No | 1No |
| 2 | 22U/600W/600D front glass door and lock, Rear MSdoor, Sidepanels and on castor wheels with 1U PVC Cable manager- nos, 5A Horizontal power manager-2no(total 8Nos of Sockets), Two fan tray with two fans-1no, Mounting Hardware (Pack of 20) | Yes/No | 2Nos |
| 3 | 15U/530D rack with front glass door and lock with 5A Horizontal power manager-1no,1U PVC Horizontal cable manager- 3nos, 5A Horizontal power manager-2no(total 8Nos of Sockets), Mounting Hardware (pack of 20) | Yes/No | 1 No |
| 4 | 12U/530D rack with front glass door and lock with 5A Horizontal power manager-1no,1U PVC Horizontal cable manager-3nos, 5A Horizontal power manager-2no(total 8Nos of Sockets), Mounting Hardware (pack of 20) | Yes/No | 2 No |
| 5 | 9U/530D rack with front glass door and lock with 5A Horizontal power manager-1no,1U PVC Horizontal cable manager-3nos, 5A Horizontal power manager-2no(total 8Nos of Sockets), Mounting Hardware (pack of 20) | Yes/No | 2 Nos |
| 6 | Cat-6 UTP24 Port Jack panel (Fully Loaded with RJ 45 Modules) | Yes/No | 14Nos |
| 7 | 4ft Patch Chords for Jack panel to Switch | Yes/No | 250Nos |
| 8 | 7ft Patch chords for User End | Yes/No | 100Nos |
| 9 | 50/125 micron OM3 OFC Armored Cable | Yes/No | 1000Mtrs |
| 10 | 6 port Rack Mount Loaded LIU with Adopter plate & couplers | Yes/No | 3 Nos |
| 11 | 24 port Rack Mount Loaded LIU with Adopter plate & couplers | Yes/No | 1 No |
| 12 | 50 Micron connectors MultiMode | Yes/No | 40 Nos |
| 13 | SC-SC/LC Patch chord 3 mtr 50/125 for Switch to LIU | Yes/No | 6 Nos |
| 14 | Digging & Refilling of soil, Cutting of Roads & Filling, OFC Marker Stone for every 20 Mtrs distance, in Mtrs for Laying of OFC with HDPE Pipe for outdoor | Yes/No | 900 Mtrs / Actual |

| Sl.No | Technical Specification for Passive components | Compliance | Qty |
| --- | --- | --- | --- |
| 15 | Termination of Rack Panels | Yes/No | 14 Nos |
| 16 | Fixing of Racks | Yes/No | 7 Nos |
| 17 | Identification, Numbering, Patching & Dressing of Racks | Yes/No | 200 Nos |
| 18 | Laying of OFC using HDPE pipe | Yes/No | 1000 Mtrs or Actual |
| 19 | The Active and Passive components Connectivity, Installing, Configuration of Switches, WiFi APs and Integration of existing Servers, PCs, Routers and Internet Service Providers (NKN/BSNL) done by the vendor. A documented report on networking of entire campus along with the Testing report including fibre cable connectivity across the campus connectivity should be provided. | Yes/No | Lot |

- The Tenderer should submit along with their quotation, details of similar supply made to Training/Scientific/Technical Institutions of Govt./PSU/SAU/Pvt. Firms in India and the reference to that effect may be clearly mentioned and copies enclosed.  Catalogue /literature of the network quoted should be provided along with the quotation.

- Onsite Comprehensive Warranty should be provided for three years to all the active components quoted for Network items. The firm should provide details of after sales service.  The firm has to submit its willingness to this effect.

- Contract / Agreement

- The Successful firm(s) shall require to deposit 5% of the order value as Performance Security either by means of demand draft or irrevocable Bank Guarantee obtained from any nationalized/commercial banks in favour of National Institute of Plant Health Management (NIPHM), the Hyderabad which should be valid beyond 60 days beyond the date of completion of all contractual obligations of the supplier including warranty obligation. The security deposit will be released/discharged after 60 days of completion of all contractual obligations of the supplier including warranty obligation without interest.

- The Performance Security shall be forfeited if the contractor declared successful fails to supply the stores as per specification mentioned in the purchase order or does not accept the assigned work for any reason, whatsoever.

- If the firm fails to deliver the goods within the stipulated delivery period as mentioned in the purchase order penalty of 2% per day of value of order shall be imposed/levied as liquidated damages

- Payment will be made within 15 days after receipt of material, installation and its final acceptance.

- PRICE SCHEDULE

- Name of the item:  Procurement of  Network items for New faculty Building .

| Sl. No. | Make/ model | Item Description | Complied Yes/No | Unit | Quantity | Price (Rs.) | Sales Tax/VAT | TOTAL Amount (Rs.) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |  |  |
| 17 |  |  |  |  |  |  |  |  |
| 18 |  |  |  |  |  |  |  |  |
| 19 |  |  |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |  |  |
| 21 |  |  |  |  |  |  |  |  |
| 22 |  |  |  |  |  |  |  |  |
| 23 |  |  |  |  |  |  |  |  |

NOTE: 	1) 	Items should be delivered and installed at NIPHM

2)	Sales tax/VAT should be indicated clearly.

3)	Prices should be quoted either   in Indian Rupees/ foreign currency.

We are herewith undertaking that the details provided above are true and to abide by the terms and conditions contained in the bid document of NIPHM.

Signature of authorized official

( with seal and stamp)

Name		:

Designation	: