|  | National Institute of Plant Health Management Department of Agriculture & Cooperation Ministry of Agriculture Government of India |  |
| --- | --- | --- |
| Telephone: 9140-24015374 E-mail: niphm@nic .in Tele-Fax: 9140-24015346 | Rajendra Nagar, Hyderabad – 500 030 http://niphm.gov.in |

F. No. 16/111/Proc.Equip/2013-14-A/27						 	Dated:	13-09-2013

To

# *(The tender document is also being uploaded on the NIPHM website http://niphm.gov.in and the other prospective bidders can make use of the document down loaded from the website)

Sub:	Limited tender for supply of the Lab equipments – Reg.

* * *

Sir/Madam,

National Institute of Plant Health Management (NIPHM) invites ‘Sealed Bids’ from the reputed manufacturers/authorized distributors/dealers for procurement of the following Lab Equipments.

- Homogenizer (Low Volume)

- Centrifuge (Low Volume)

- Centrifuge (High Volume)

- Refrigerator

- Reverse Osmosis Plant

- Auto-titrator

- Digital Burette

Detailed terms and conditions and list of items required may be downloaded from the NIPHM website http://niphm.gov.in

The schedule of receipt and opening of quotations is as under:-

Last date and time for receipt of bids 	::	14:00 hrs on

30-09-2013.

Date & Time for opening of bids		::	15:00 hrs on

30-09-2013.

Administrative Officer

for Registrar

TERMS AND CONDITIONS:

- GENERAL INSTRUCTION TO BIDDING:

- Any offer made in responses to this tender when accepted by NIPHM will constitute a contract between the parties.

- Tenderer is exempted from  Earnest Money Deposit

- The Contract shall be interpreted under Indian laws and all disputes will be resolved within Hyderabad Jurisdictions. In case of any dispute, the decision of NIPHM, Hyderabad shall be final and binding.

- The supplier will be fully responsible for any loss in transit and will also be responsible for safe delivery of the goods/stores in good conditions at NIPHM.

- The quantity of items may increase or decrease at the time of award of purchase order.

- Quotation should be valid for a minimum period of SIXTY DAYS from opening of tender.  The sealed quotation duly super scribing on the envelop “Quotation for procurement of ‘Lab Equipments for Pesticide Management Division’ with tender no. and due date” should reach on or before the specified date and time to the Registrar NIPHM, Rajendranagar, Hyderabad-500 030.

- The NIPHM takes no responsibility for delay, loss or non-receipt of quotations/documents sent by post and reserves the right to accept or reject any part/full of the quotation without assigning any reasons whatsoever.

- Tenders received after due date and time shall be rejected.

- The price may be quoted either in Indian Rupees or foreign currency. NIPHM will be providing central excise duty exemption certificate. If the rated quoted are in Indian Rupees, the same should be inclusive of all charges such as Octroi, packing, forwarding, insurance and loading, unloading, freight and clearance etc. and bidder should undertake to supply goods at NIPHM at his cost.

- The VAT/Sales/General taxes where legally leviable and intended to be claimed should be distinctly shown along with the price quoted.  Where this is not done it will be treated that the price is inclusive of VAT & other taxes. VAT/CST registration No. and date of its validity should be indicated. This Institute will not provide “C” & “D” forms, hence quote for the taxes actually leviable. The firm must quote their TIN No. , PAN No., (IT returns) VAT registration no. etc. in the quotation (attested copies to be enclosed).

- The rates should be mentioned clearly in both figures and words for each item in the quotation.  If there is any variation in figures and words rates quoted in words will be taken in to consideration. The overwriting, cutting, erasing, if any should clearly be indicated duly attested.

- Corrupt or Fraudulent Practices: Bidders should observe the highest standard of ethics during the procurement and execution of such contracts.  “Corrupt practice” means the offering, giving, receiving or soliciting of anything of value to influence the action of public official in the procurement process or in contract execution, and “Fraudulent practice” means a misrepresentation of facts in order to influence a procurement process or the execution of a contract to the detriment of the Purchaser and includes collusive practice among Bidders (prior to or after bid submission) designed to establish bid prices at artificial non-competitive levels and to deprive the Purchaser of the benefits of free and open competition.

NIPHM will reject a proposal for award if it is found that the Bidder recommended for award has engaged in corrupt or fraudulent practices in competing for the contract in question.

- CONDITIONS OF CONTRACT

- Sealed Quotations will be accepted from authorized dealers / distributors / manufacturers for supply of ‘Homogenizer (Low Volume), Centrifuge (Low Volume), Centrifuge (High Volume), Refrigerator, Reverse Osmosis Plant, Auto-titrator and Digital Burette’ in accordance with our specifications.

- The Manufacturer should have at least 3 years of experience in dealing/supplying of laboratory equipments for which they have to enclose copies of purchase orders.

- In case of dealer/distributor should enclose the authorization letter from the manufacturer.  Experience of manufacturer will be taken into account in respect of authorized dealer and distributor.

- In respect of Manufacturers Gross Annual Turnover should be Rs. 25 lakhs.  In respect of Authorized dealer, the turnover of the manufacturer will be taken into account.  Turnover not applicable to registered supplier with NIPHM/DGS&D CRIDA. Proof to be submitted.

- In respect of other bidder’s the annual gross turn over should be at least Rs. 20.00 lakhs during last  financial year, for which they have to enclose copy of the annual accounts duly signed and attested by a Chartered Accountant. Proof to be submitted.

- The bidder should provide details of after sales service.  The bidder has to submit its willingness to this effect.

- The NIPHM does not undertake any responsibility for issue of import licence where it may be required for the supply of the stores and acceptance of tender shall not imply such an undertaking on the part of NIPHM.

III. TECHNICAL SPECIFICATIONS:

| Sl. No | Name of the item/ equipment | Capacity | Specification | Quantity |
| --- | --- | --- | --- | --- |
| 1 | Homogenizer | Low Volume | Should work on 230V/50Hz and shock proof & vibration proof; Sound proof/silent crusher; Capacity 1 Lt; Solvent compatible, 30,000rpm or better; Comply with international hygiene standards | 1 No. |
| 2 | Centrifuge with cooling facility | High speed (20,000rpm or better); 2mlx24 tubes | To reach and maintain sub 0°C; Microprocessor based bench top centrifuge to work on 220V/50Hz; Digital display of speed & time; With brushless motor & fire proof; Vibration & noise free; With chemical resistant covers &accessories; Interchangeable heads to accommodate different capacity of tubes; 2mlx24 tubes; Provided with safe locking system | 1 No. |
| 3 | Centrifuge with cooling facility | High Volume | To reach and maintain sub 0°C; Microprocessor based bench top centrifuge to work on 220V/50Hz Rotor digital read out, 6000rpm, Bench top centrifuge to work on 220V/50Hz with digital display of time and speed with brushless motor and fire proof, vibration and noise free angled head rotor with chemical resistant covers Accessories, Interchangeable heads to accommodate different capacity of tubes. Provided with safety locking system. Additional features the supplier wish to submit Exchangeable rotors with variable multiple volume. | 1 No. |
| 4 | Refrigerator | Frost Free | Capacity: 300L; Digital Inverter Compressor LED Light, Glass Shelf; Multi Storage Basket | 1 No. |

| Sl. No | Name of the item/ equipment | Capacity | Specification | Quantity |
| --- | --- | --- | --- | --- |
| 5 | Reverse Osmosis Plant | 30L/hr | To purify Tap Water, Wall mounted, should have Sediment filter, Carbon Block Filter, UF and RO, Minimum Capacity of Purify Water: 15 litres/ hour, Should have Alarm for Filter Change. | 1 No. |
| 6 | Auto-titrator | microprocessor based | Microcontroller based. • Corrosion resistance fiber body • Facility for KF attachment • Three methods : - FED-Fixed End Point Dosing – For titration with set pH or mV SVD-Step Volume Dosing – For titration with fixed dosing steps. EP determined with jump in mV or pH; ASD-Anticipatory Speed Dosing – For titrations with variable dosing speed. Automatic slow down as EP approaches. Suitable EP criteria can be given. • 51 user methods can be stored with more than 20 parameters per method. • Three methods : - Blank * Normality * Sample • Interchangeable burette module for quick change from one titration to another • Pre dosing with respect to volume, mV or pH. • Stop criteria for end of titration : w.r.t. fixed end point in mV or pH, w.r.t. volume and w.r.t. slope • Eject facility with simultaneous display of mv or pH. • Result Units: Conc %w/w, %w/v, ppm, g/L, mg/L, TAN /TBN (mg KOH/g). • Formulae : Three formulae in Normality and Nine formulae in sample mode. • Calibration: 3 point calibration for pH. • Result Report with EP ml & corresponding mv or pH along with automatic calculation in desired units using Formulae Constants. • Reprocessing of Data w.r.t. EP criteria or EP Number. • Facility to enter burette factor for calibration purpose. • Document format report print out which can be directly filed. • Time,Date,Titration number & Sample identification number facility. • Alphanumeric entry possible for sample name, batch number, operator name etc. • Aesthetically designed, soft touch, tactile alphanumeric keyboard with shift key to convert from alphabet to numeric and vise versa. • Statistics with Mean value, SD, RSD and Linearity. • Interface : PC, Printer • Ten result reports can be stored. • Upto 10 endpoints can be detected. • 20 character dualline, alphanumeric, Backlighted LCD display. • Burette volume : 20ml • Burette resolution : 1/20,000 or 0.001 ml per step. • Filling time : less than 20 sec. • Measuring range : 0-14.000 pH, + 1999.9mV • Electrodes : Polarising / Non polarizing. • mV resolution : + 0.1mV, + 0.017pH • Polarizing current : 2,5,10µ A • Data Memory : Non volatile • Input Impedance : 1012 Ω • Power supply : 230 V + 10% , 50Hz • Upgraded CFR Compliance The instrument must be along with 3 years warranty | 1 No. |

| Sl. No | Name of the item/ equipment | Capacity | Specification | Quantity |
| --- | --- | --- | --- | --- |
| 7 | Digital burette | Capacity 50 ml | Accuracy +/- 0.06% or better. As per class A precision Display is continuous with a display from 0 to 99.99 ml option of 0.001 ml or 0.01 ml. Zero reset of display by press of a button. Supplied with an operating and maintenance manual with clear pictorial description of all the operations like setting up the instrument, getting started, operational limits and exclusions, user safety, calibration of the instrument and the spare parts with part numbers. SOP for calibration, test and Calibration certificate mentioning Accuracy and Coefficient of Variation % to be provided. Refilling be done without changing the display Whole filling and dispensing system can be dismantled for cleaning without any change in the accuracy or calibration of the instrument. Built in Safety valve. All required neck adapters are provided to fix the Burette on top of various kinds of reagent bottles and threaded bottles. Electronic Calibration Programmable auto power off from 1 – 30 minutes, with previous reading display on switching on Adjustable dispensing tube in both horizontal and vertical directions, Telescopic filling tube to adjust the length depending on the depth of the bottle, Inspection windows to view the liquid in the burette and Spare amber coloured windows for photo sensitive titrations, drying tube connection provision for hygroscopic reagents, Provision for RS 232 port with software for transferring the data on to the computer and exporting in xls format Spare parts like dispensing cylinder, piston head, filling valves, titrating tube , filling tube, inspection windows should be available and also to be quoted | 1 No. |

- The Tender should submit along with their quotation, details of similar supply made to Training/Scientific/Technical Institutions of Govt./PSU/SAU/Pvt. Firms in India and the reference to that effect may be clearly mentioned and copies enclosed.  Catalogue /literature of the equipment quoted should be provided along with the quotation.

- The bidder should be quote AMC charges for three years.

- Warranty should be provided atleast for three years. The firm should provide details of after sales service.  The firm has to submit its willingness to this effect.

IV. CONTRACT / AGREEMENT

- The Successful firm(s) shall require to deposit 5% of the order value as Security deposit/Performance Security either by means of demand draft or irrevocable Bank Guarantee obtained from any nationalized/commercial banks in favour of National Institute of Plant Health Management (NIPHM), the Hyderabad which should be valid beyond 60 days beyond the date of completion of all contractual obligations of the supplier including warranty obligation. The security deposit will be released/discharged after 60 days of complication all contractual obligations of the supplier including warranty obligation.

- The Performance Security shall be forfeited if the contractor declared successful fails to supply the stores as per specification mentioned in the purchase order or does not accept the assigned work for any reason, whatsoever.

- If the firm fails to deliver the goods within the stipulated delivery period as mentioned in the purchase order penalty of 2% per day of value of order shall be imposed/levied as liquidated damages.

- Payment will be made within 15 days after receipt of material, installation and its final acceptance.

V. PRICE SCHEDULE

- Name of the item:

| Sl. No. | Item Description | Make/ Catalogue No. | Unit | Quantity | Price (Rs.) | Sales Tax/VAT | TOTAL Amount (Rs.) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Homogenizer (Low Volume) |  |  |  |  |  |  |
| 2 | Centrifuge with cooling facility (Low Volume) |  |  |  |  |  |  |
| 3 | Centrifuge with cooling facility (High Volume) |  |  |  |  |  |  |
| 4 | Refrigerator |  |  |  |  |  |  |
| 5 | Reverse Osmosis Plant |  |  |  |  |  |  |
| 6 | Auto-titrator |  |  |  |  |  |  |
| 7 | Digital burette |  |  |  |  |  |  |

- Annual Maintenance charges (for a minimum period of Three years) Rs._____________

NOTE: 	1) 	Items should be delivered and installed at NIPHM

2)	Sales tax/VAT should be indicated clearly.

3)	Prices should be quoted either in Indian Rupees or in Foreign Currency also.

We are herewith undertaking that the details provided above are true and to abide by the terms and conditions contained in the bid document of NIPHM.

Signature of authorized official

(with seal and stamp)

Name		:

Designation	: